## CCure Export
System | Site Code | Location | Device Type | Description | Device Reference Number | Programming Name | Online | Manufacturer | iSTAR Model | Firmware Version | Set of Configurations
CCure | SITE10 | SERVER ROOM | Door | LOBBY DOOR | DR00001 | SITE10 (SERVER ROOM) LOBBY DOOR [DR00001] | Online | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE06 | SERVER ROOM | Reader | REAR EXIT READER | RD00002 | SITE06 (SERVER ROOM) REAR EXIT READER [RD00002] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE06 | SECOND FLOOR | Door | REAR EXIT DOOR | DR00003 | SITE06 (SECOND FLOOR) REAR EXIT DOOR [DR00003] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE06 | SECURITY OFFICE | Door | PARKING GARAGE DOOR | DR00004 | SITE06_(SECURITY_OFFICE)_PARKING_GARAGE_DOOR_[DR00004] | Offline | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE07 | SECOND FLOOR | Control Panel | LOBBY CONTROL PANEL | CP00005 | SITE07 (SECOND FLOOR) LOBBY CONTROL PANEL [CP00005] | Online | Software House | iSTAR Ultra | 7.2.4 | Configured Incorrectly
CCure | SITE06 | SECURITY OFFICE | Reader | REAR EXIT READER | RD00006 | SITE06 (SECURITY OFFICE) REAR EXIT READER [RD00006] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE01 | LOBBY | Reader | SECURITY OFFICE READER | RD00007 | SITE01 (LOBBY) SECURITY OFFICE READER [RD00007] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE02 | LOBBY | Door | REAR EXIT DOOR | DR00008 | SITE02 (LOBBY) REAR EXIT DOOR [DR00008] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE06 | THIRD FLOOR | Door | LOADING DOCK DOOR | DR00009 | SITE06 (THIRD FLOOR) LOADING DOCK DOOR [DR00009] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE05 | SECOND FLOOR | Door | SERVER ROOM DOOR | DR00010 | SITE05 (SECOND FLOOR) SERVER ROOM DOOR [DR00010] | Online | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE07 | SERVER ROOM | Door | WAREHOUSE ENTRY DOOR | DR00011 | SITE07 (SERVER ROOM) WAREHOUSE ENTRY DOOR [DR00011] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE01 | LOBBY | Control Panel | MAIN CONTROL PANEL | CP00012 | SITE01 (LOBBY) MAIN CONTROL PANEL [CP00012] | Offline | Software House | iSTAR Ultra | 7.2.4 | Configured Correctly
CCure | SITE10 | WAREHOUSE | Door | WAREHOUSE ENTRY DOOR | DR00013 | SITE10 (WAREHOUSE) WAREHOUSE ENTRY DOOR [DR00013] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE08 | THIRD FLOOR | Door | PARKING GARAGE DOOR | DR00014 | site08 (third floor) parking garage door [dr00014] | Online | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE09 | SERVER ROOM | Reader | LOADING DOCK READER | RD00015 | ST09 (SERVER ROOM) LOADING DOCK READER [RD00015] | Offline | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE06 | LOBBY | Reader | REAR EXIT READER | RD00016 | SITE06 (LOBBY) REAR EXIT READER [RD00016] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE02 | FIRST FLOOR | Reader | SECURITY OFFICE READER | RD00017 | SITE02 (FIRST FLOOR) SECURITY OFFICE READER [RD00017] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE03 | PARKING GARAGE | Door | REAR EXIT DOOR | DR00018 | SITE03_(PARKING_GARAGE)_REAR_EXIT_DOOR_[DR00018] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE08 | LOADING DOCK | Reader | SERVER ROOM READER | RD00019 | SITE08 (LOADING DOCK) SERVER ROOM READER [RD00019] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE01 | SECOND FLOOR | Control Panel | LOBBY CONTROL PANEL | CP00020 | SITE01 (SECOND FLOOR) LOBBY CONTROL PANEL [CP00020] | Online | Software House | iSTAR Ultra | 7.2.4 | Configured Correctly
CCure | SITE06 | SECOND FLOOR | Reader | SERVER ROOM READER | RD00021 | SITE06 (SECOND FLOOR) SERVER ROOM READER [RD00021] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE08 | FIRST FLOOR | Door | PARKING GARAGE DOOR | DR00022 | SITE08 (FIRST FLOOR) PARKING GARAGE DOOR [DR00022] | Online | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE02 | SERVER ROOM | Reader | SECURITY OFFICE READER | RD00023 | SITE02 (SERVER ROOM) SECURITY OFFICE READER [RD00023] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE10 | LOBBY | Reader | REAR EXIT READER | RD00024 | SITE10 (LOBBY) REAR EXIT READER [RD00024] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE03 | LOADING DOCK | Door | LOBBY DOOR | DR00025 | SITE03 (LOADING DOCK) LOBBY DOOR [DR00025] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE02 | WAREHOUSE | Reader | SECURITY OFFICE READER | RD00026 | SITE02 (WAREHOUSE) SECURITY OFFICE READER [RD00026] | Online | Software House | RM4e | 5.4.1 | Configured Correctly
CCure | SITE04 | FIRST FLOOR | Control Panel | NORTH WING CONTROL PANEL | CP00027 | SITE04 (FIRST FLOOR) NORTH WING CONTROL PANEL [CP00027] | Online | Software House | iSTAR Pro | 6.8.1 | Configured Correctly
CCure | SITE08 | SECOND FLOOR | Door | SERVER ROOM DOOR | DR00028 | SITE08 (SECOND FLOOR) SERVER ROOM DOOR [DR00028] | Online | Software House | apC 8X | 4.9.0 | Configured Incorrectly
CCure | SITE03 | SERVER ROOM | Control Panel | LOBBY CONTROL PANEL | CP00029 | site03 (server room) lobby control panel [cp00029] | Online | Software House | iSTAR Ultra | 7.2.4 | Configured Correctly
CCure | SITE04 | SERVER ROOM | Control Panel | WAREHOUSE CONTROL PANEL | CP00030 | SITE04 (SERVER ROOM) WAREHOUSE CONTROL PANEL [CP00030] | Online | Software House | iSTAR Ultra | 7.2.4 | Configured Correctly
CCure | SITE09 | ROOF ACCESS | Door | REAR EXIT DOOR | DR00031 | SITE09 (ROOF ACCESS) REAR EXIT DOOR [DR00031] | Online | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE06 | FIRST FLOOR | Door | WAREHOUSE ENTRY DOOR | DR00032 | SITE06 (FIRST FLOOR) WAREHOUSE ENTRY DOOR DR00032 | Online | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE01 | LOBBY | Door | REAR EXIT DOOR | DR00033 | SITE01 (LOBBY) REAR EXIT DOOR [DR00033] | Online | Software House | apC 8X | 4.9.0 | Configured Incorrectly
CCure | SITE04 | SERVER ROOM | Door | ROOF ACCESS DOOR | DR00034 | SITE04 (SERVER ROOM) ROOF ACCESS DOOR [DR00034] | Online | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE10 | SECURITY OFFICE | Reader | WAREHOUSE READER | RD00035 | SITE10 (SECURITY OFFICE) WAREHOUSE READER [RD00035] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE08 | PARKING GARAGE | Door | WAREHOUSE ENTRY DOOR | DR00036 | SITE08 (PARKING GARAGE) WAREHOUSE ENTRY DOOR DR00036 | Online | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE06 | PARKING GARAGE | Reader | WAREHOUSE READER | RD00037 | SITE06 (PARKING GARAGE) WAREHOUSE READER [RD00037] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE01 | SECOND FLOOR | Reader | LOBBY READER | RD00038 | SITE01 (SECOND FLOOR) LOBBY READER [RD00038] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE06 | SECOND FLOOR | Door | WAREHOUSE ENTRY DOOR | DR00039 | SITE06 (SECOND FLOOR) WAREHOUSE ENTRY DOOR [DR00039] | Offline | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE07 | THIRD FLOOR | Door | PARKING GARAGE DOOR | DR00040 | SITE07 (THIRD FLOOR) PARKING GARAGE DOOR [DR00040] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE02 | ROOF ACCESS | Door | REAR EXIT DOOR | DR00041 | SITE02 (ROOF ACCESS) REAR EXIT DOOR [DR00041] | Online | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE09 | FIRST FLOOR | Reader | LOBBY READER | RD00042 | SITE09 (FIRST FLOOR) LOBBY READER [RD00042] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE04 | THIRD FLOOR | Control Panel | WAREHOUSE CONTROL PANEL | CP00043 | SITE04 (THIRD FLOOR) WAREHOUSE CONTROL PANEL [CP00043] | Online | Software House | iSTAR Ultra | 7.2.4 | Configured Correctly
CCure | SITE07 | FIRST FLOOR | Reader | REAR EXIT READER | RD00044 | SITE07_(FIRST_FLOOR)_REAR_EXIT_READER_[RD00044] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE07 | SERVER ROOM | Door | ROOF ACCESS DOOR | DR00045 | SITE07 (SERVER ROOM) ROOF ACCESS DOOR [DR00045] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE09 | ROOF ACCESS | Door | SERVER ROOM DOOR | DR00046 | SITE09 (ROOF ACCESS) SERVER ROOM DOOR [DR00046] | Online | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE01 | SECURITY OFFICE | Door | LOBBY DOOR | DR00047 | SITE01 (SECURITY OFFICE) LOBBY DOOR [DR00047] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE10 | ROOF ACCESS | Door | SERVER ROOM DOOR | DR00048 | SITE10 (ROOF ACCESS) SERVER ROOM DOOR [DR00048] | Online | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE02 | THIRD FLOOR | Control Panel | MAIN CONTROL PANEL | CP00049 | SITE02 (THIRD FLOOR) MAIN CONTROL PANEL [CP00049] | Online | Software House | iSTAR Pro | 6.8.1 | Configured Correctly
CCure | SITE04 | PARKING GARAGE | Reader | LOBBY READER | RD00050 | SITE04 (PARKING GARAGE) LOBBY READER [RD00050] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE10 | LOBBY | Control Panel | LOBBY CONTROL PANEL | CP00051 | SITE10 (LOBBY) LOBBY CONTROL PANEL [CP00051] | Online | Software House | iSTAR Pro | 6.8.1 | Configured Correctly
CCure | SITE07 | SECURITY OFFICE | Reader | PARKING GARAGE READER | RD00052 | SITE07 (SECURITY OFFICE) PARKING GARAGE READER [RD00052] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE05 | LOBBY | Reader | LOADING DOCK READER | RD00053 | SITE05 (LOBBY) LOADING DOCK READER [RD00053] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE04 | SERVER ROOM | Reader | WAREHOUSE READER | RD00054 | SITE04 (SERVER ROOM) WAREHOUSE READER [RD00054] | Online | Software House | RM4e | 5.4.1 | Configured Correctly
CCure | SITE05 | ROOF ACCESS | Door | LOADING DOCK DOOR | DR00055 | SITE05 (ROOF ACCESS) LOADING DOCK DOOR [DR00055] | Offline | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE10 | SECOND FLOOR | Reader | LOBBY READER | RD00056 | SITE10 (SECOND FLOOR) LOBBY READER [RD00056] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE09 | SERVER ROOM | Reader | REAR EXIT READER | RD00057 | SITE09 (SERVER ROOM) REAR EXIT READER [RD00057] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE02 | LOBBY | Control Panel | SOUTH WING CONTROL PANEL | CP00058 | SITE02 (LOBBY) SOUTH WING CONTROL PANEL [CP00058] | Online | Software House | iSTAR Ultra | 7.2.4 | Configured Correctly
CCure | SITE09 | SERVER ROOM | Door | LOBBY DOOR | DR00059 | SITE09 (SERVER ROOM) LOBBY DOOR [DR00059] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE02 | THIRD FLOOR | Control Panel | SOUTH WING CONTROL PANEL | CP00060 | SITE02 (THIRD FLOOR) SOUTH WING CONTROL PANEL [CP00060] | Online | Software House | iSTAR Pro | 6.8.1 | Configured Correctly
CCure | SITE09 | THIRD FLOOR | Control Panel | SOUTH WING CONTROL PANEL | CP00061 | SITE09 (THIRD FLOOR) SOUTH WING CONTROL PANEL [CP00061] | Online | Software House | iSTAR Ultra | 7.2.4 | Configured Correctly
CCure | SITE06 | LOBBY | Reader | LOADING DOCK READER | RD00062 | SITE06 (LOBBY) LOADING DOCK READER [RD00062] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE05 | LOADING DOCK | Reader | WAREHOUSE READER | RD00063 | SITE05 (LOADING DOCK) WAREHOUSE READER [RD00063] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE01 | SECOND FLOOR | Door | SECURITY OFFICE DOOR | DR00064 | SITE01 (SECOND FLOOR) SECURITY OFFICE DOOR [DR00064] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE06 | THIRD FLOOR | Door | PARKING GARAGE DOOR | DR00065 | SITE06 (THIRD FLOOR) PARKING GARAGE DOOR [DR00065] | Online | Software House | apC 8X | 4.9.0 | Configured Correctly
CCure | SITE09 | PARKING GARAGE | Reader | PARKING GARAGE READER | RD00066 | SITE09 (PARKING GARAGE) PARKING GARAGE READER [RD00066] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE02 | THIRD FLOOR | Door | LOBBY DOOR | DR00067 | SITE02 (THIRD FLOOR) LOBBY DOOR [DR00067] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE03 | PARKING GARAGE | Reader | REAR EXIT READER | RD00068 | SITE03 (PARKING GARAGE) REAR EXIT READER [RD00068] | Online | Software House | RM4e | 5.4.2 | Configured Correctly
CCure | SITE06 | FIRST FLOOR | Door | LOADING DOCK DOOR | DR00069 | SITE06 (FIRST FLOOR) LOADING DOCK DOOR [DR00069] | Online | Software House | apC 8X | 4.9.0 | Configured Incorrectly
CCure | SITE06 | LOADING DOCK | Reader | SECURITY OFFICE READER | RD00070 | SITE06 (LOADING DOCK) SECURITY OFFICE READER [RD00070] | Offline | Software House | RM4e | 5.4.1 | Configured Correctly

## Genetec Export
System | Site Code | Location | Device Type | Description | Device Reference Number | Programming Name | Online | IP Address | Manufacturer | Camera Model | Firmware Version | Set of Configurations
Genetec | SITE06 | SERVER ROOM | Camera | LOADING DOCK CAMERA | CAM00001 | SITE06 (SERVER ROOM) LOADING DOCK CAMERA [CAM00001] | Online | 3900:cce:8cd0:7d62:7248:4771:347a:2c83 | Axis | Axis P1465-LE | 11.8.62 | Configured Correctly
Genetec | SITE01 | LOBBY | Camera | MAIN ENTRANCE CAMERA | CAM00002 | SITE01 (LOBBY) MAIN ENTRANCE CAMERA [CAM00002] | Offline | d806:1045:f41:2ff8:6ff1:771f:d96:65ce | Axis | Axis P3245-LV | 11.8.62 | Configured Correctly
Genetec | SITE05 | WAREHOUSE | Camera | MAIN ENTRANCE CAMERA | CAM00003 | SITE05 (WAREHOUSE) MAIN ENTRANCE CAMERA [CAM00003] | Online | 10.184.167.180 | Axis | Axis P1347 | 5.51.7 | Configured Correctly
Genetec | SITE06 | FIRST FLOOR | Camera | PARKING GARAGE CAMERA | CAM00004 | SITE06 (FIRST FLOOR) PARKING GARAGE CAMERA [CAM00004] | Online | d6cb:70dd:e5fe:8e6f:353:51be:d860:ae35 | Hanwha | Hanwha QNO-7080R | 2.22.01 | Configured Correctly
Genetec | SITE03 | SECURITY OFFICE | Camera | WAREHOUSE CAMERA | CAM00005 | SITE03 (SECURITY OFFICE) WAREHOUSE CAMERA [CAM00005] | Online | 8e45:4f9b:6e3d:ac56:3454:2f7c:c285:3184 | Axis | Axis P3245-LV | 11.8.62 | Configured Correctly
Genetec | SITE02 | SECURITY OFFICE | Camera | MAIN ENTRANCE CAMERA | CAM00006 | SITE02 (SECURITY OFFICE) MAIN ENTRANCE CAMERA [CAM00006] | Online | b7cc:b01a:876f:163f:eb39:3fe9:c1cf:2858 | Hanwha | Hanwha QNO-7080R | 2.22.01 | Configured Correctly
Genetec | SITE06 | PARKING GARAGE | Camera | PARKING GARAGE CAMERA | CAM00007 | SITE06 (PARKING GARAGE) PARKING GARAGE CAMERA [CAM00007] | Online | 961b:b928:6273:239c:1776:74af:942a:28da | Bosch | Bosch DINION 7100i | 8.90.11 | Configured Correctly
Genetec | SITE10 | LOBBY | Camera | WAREHOUSE CAMERA | CAM00008 | SITE10 (LOBBY) WAREHOUSE CAMERA [CAM00008] | Online | 7730:33b6:c29f:8e52:e825:bacb:5347:bd88 | Axis | Axis P3245-LV | 11.8.62 | Configured Correctly
Genetec | SITE07 | FIRST FLOOR | Camera | LOADING DOCK CAMERA | CAM00009 | SITE07 (FIRST FLOOR) LOADING DOCK CAMERA [CAM00009] | Online | b5e6:6b44:88b1:248e:579f:7d57:53a9:ecad | Hanwha | Hanwha QNO-7080R | 2.22.01 | Configured Correctly
Genetec | SITE07 | SECOND FLOOR | Camera | SECURITY DESK CAMERA | CAM00010 | ST07 (SECOND FLOOR) SECURITY DESK CAMERA [CAM00010] | Online | c247:8a36:7071:a608:1ca3:7545:106f:a183 | Hanwha | Hanwha QNO-7080R | 2.22.01 | Configured Correctly
Genetec | SITE02 | SERVER ROOM | Camera | WAREHOUSE CAMERA | CAM00011 | SITE02_(SERVER_ROOM)_WAREHOUSE_CAMERA_[CAM00011] | Online | cd65:8915:21e3:6c05:a11d:6cdd:ff9b:ca90 | Hanwha | Hanwha QNO-7080R | 2.22.0 | Configured Correctly
Genetec | SITE07 | SERVER ROOM | Camera | SERVER ROOM CAMERA | CAM00012 | SITE07 (SERVER ROOM) SERVER ROOM CAMERA [CAM00012] | Offline | eaee:4926:879e:477d:7e45:8686:db5b:cc7e | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE03 | SECURITY OFFICE | Camera | WAREHOUSE CAMERA | CAM00013 | SITE03 (SECURITY OFFICE) WAREHOUSE CAMERA [CAM00013] | Online | 10.93.57.36 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE09 | FIRST FLOOR | Camera | WAREHOUSE CAMERA | CAM00014 | SITE09 (FIRST FLOOR) WAREHOUSE CAMERA [CAM00014] | Online | fcae:2e8b:181f:3823:4e41:51e9:d825:2086 | Hanwha | Hanwha QNO-7080R | 2.22.01 | Configured Correctly
Genetec | SITE04 | PARKING GARAGE | Camera | SECURITY DESK CAMERA | CAM00015 | SITE04 (PARKING GARAGE) SECURITY DESK CAMERA [CAM00015] | Online | 10.99.98.153 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE08 | ROOF ACCESS | Camera | LOADING DOCK CAMERA | CAM00016 | ST08 (ROOF ACCESS) LOADING DOCK CAMERA [CAM00016] | Online | efa4:80b9:5e0:3aa6:889d:ae2b:391d:9645 | Bosch | Bosch DINION 7100i | 8.90.11 | Configured Correctly
Genetec | SITE03 | SECOND FLOOR | Camera | WAREHOUSE CAMERA | CAM00017 | SITE03 (SECOND FLOOR) WAREHOUSE CAMERA [CAM00017] | Online | de99:50fa:e84e:1a9:86da:5b78:367b:98cd | Axis | Axis P1347 | 5.51.7 | Configured Correctly
Genetec | SITE10 | WAREHOUSE | Camera | PARKING GARAGE CAMERA | CAM00018 | SITE10 (WAREHOUSE) PARKING GARAGE CAMERA [CAM00018] | Online | 65d7:4e40:bf71:52b6:4a:a5f7:fa2a:9f8 | Axis | Axis P1465-LE | 11.8.61 | Configured Correctly
Genetec | SITE05 | LOBBY | Camera | LOADING DOCK CAMERA | CAM00019 | SITE05 (LOBBY) LOADING DOCK CAMERA [CAM00019] | Online | 3946:b9d8:9d72:7a99:1da8:7b53:2852:2bda | Axis | Axis P1465-LE | 11.8.62 | Configured Correctly
Genetec | SITE01 | FIRST FLOOR | Camera | LOADING DOCK CAMERA | CAM00020 | SITE01 (FIRST FLOOR) LOADING DOCK CAMERA [CAM00020] | Online | f8d3:236f:4063:41bc:f358:548b:87b5:d8a5 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE10 | SECOND FLOOR | Camera | REAR EXIT CAMERA | CAM00021 | SITE10 (SECOND FLOOR) REAR EXIT CAMERA [CAM00021] | Online | 6c70:66fd:9f99:cc48:bf30:e04e:e729:3df4 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE10 | LOBBY | Camera | MAIN ENTRANCE CAMERA | CAM00022 | SITE10 (LOBBY) MAIN ENTRANCE CAMERA [CAM00022] | Offline | 7eed:730b:20c8:ad19:ac5:75d1:70c0:3ae | Axis | Axis P1465-LE | 11.8.62 | Configured Correctly
Genetec | SITE03 | FIRST FLOOR | Camera | PARKING GARAGE CAMERA | CAM00023 | SITE03 (FIRST FLOOR) PARKING GARAGE CAMERA [CAM00023] | Online | 2459:1e24:7537:2282:1015:a92d:2447:79db | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE04 | THIRD FLOOR | Camera | REAR EXIT CAMERA | CAM00024 | SITE04 (THIRD FLOOR) REAR EXIT CAMERA [CAM00024] | Online | 8e94:f888:6db0:43be:f201:7c6a:f229:d06a | Axis | Axis P3245-LV | 11.8.62 | Configured Correctly
Genetec | SITE09 | LOBBY | Camera | PARKING GARAGE CAMERA | CAM00025 | SITE09 (LOBBY) PARKING GARAGE CAMERA [CAM00025] | Online | 10.49.25.25 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE03 | ROOF ACCESS | Camera | SECURITY DESK CAMERA | CAM00026 | SITE03 (ROOF ACCESS) SECURITY DESK CAMERA [CAM00026] | Online | dcb2:b566:d8df:d27b:ef1d:1bbc:3263:1f08 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE10 | LOADING DOCK | Camera | MAIN ENTRANCE CAMERA | CAM00027 | SITE10 (LOADING DOCK) MAIN ENTRANCE CAMERA [CAM00027] | Online | ce24:adb9:37f2:7f4f:6218:6163:e5b0:47c5 | Axis | Axis P1347 | 5.51.7 | Configured Incorrectly
Genetec | SITE08 | THIRD FLOOR | Camera | REAR EXIT CAMERA | CAM00028 | SITE08 (THIRD FLOOR) REAR EXIT CAMERA [CAM00028] | Online | d800:5df2:8e9d:ecdd:7fe6:2698:e2e2:3221 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE05 | LOBBY | Camera | WAREHOUSE CAMERA | CAM00029 | SITE05 (LOBBY) WAREHOUSE CAMERA [CAM00029] | Online | 19e6:78e:2fc0:7906:5526:d015:f8a5:f674 | Axis | Axis P1347 | 5.51.7 | Configured Correctly
Genetec | SITE08 | LOBBY | Camera | WAREHOUSE CAMERA | CAM00030 | SITE08 (LOBBY) WAREHOUSE CAMERA [CAM00030] | Online | 10.55.222.103 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE02 | SERVER ROOM | Camera | LOADING DOCK CAMERA | CAM00031 | SITE02 (SERVER ROOM) LOADING DOCK CAMERA [CAM00031] | Online | 10.232.16.43 | Hanwha | Hanwha QNO-7080R | 2.22.01 | Configured Correctly
Genetec | SITE06 | WAREHOUSE | Camera | PARKING GARAGE CAMERA | CAM00032 | SITE06 (WAREHOUSE) PARKING GARAGE CAMERA [CAM00032] | Online | c208:11a:c7e5:87c8:e8f6:920c:d894:f92c | Axis | Axis P1465-LE | 11.8.62 | Configured Correctly
Genetec | SITE03 | LOBBY | Camera | MAIN ENTRANCE CAMERA | CAM00033 | SITE03 (LOBBY) MAIN ENTRANCE CAMERA [CAM00033] | Online | 4f41:613a:97ea:6f76:1df1:1f35:a090:1d44 | Axis | Axis P1465-LE | 11.8.62 | Configured Correctly
Genetec | SITE04 | SECOND FLOOR | Camera | MAIN ENTRANCE CAMERA | CAM00034 | SITE04 (SECOND FLOOR) MAIN ENTRANCE CAMERA [CAM00034] | Online | 19ac:f41d:509b:1d1f:2904:5f24:2315:22cb | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE06 | LOADING DOCK | Camera | REAR EXIT CAMERA | CAM00035 | SITE06 (LOADING DOCK) REAR EXIT CAMERA [CAM00035] | Online | 786c:cebb:3d61:7e0f:1459:29f9:d6a4:a1fb | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE01 | LOBBY | Camera | MAIN ENTRANCE CAMERA | CAM00036 | SITE01 (LOBBY) MAIN ENTRANCE CAMERA [CAM00036] | Online | 8583:6894:a0dc:7a35:87fe:caa4:4302:9999 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE10 | FIRST FLOOR | Camera | MAIN ENTRANCE CAMERA | CAM00037 | SITE10 (FIRST FLOOR) MAIN ENTRANCE CAMERA [CAM00037] | Online | ea19:a1e1:2524:4c4:eaa4:3330:2582:6d22 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE01 | WAREHOUSE | Camera | WAREHOUSE CAMERA | CAM00038 | SITE01 (WAREHOUSE) WAREHOUSE CAMERA [CAM00038] | Online | 87c8:43d1:b2b1:2338:7d12:bd32:91e9:50c4 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE07 | LOADING DOCK | Camera | LOADING DOCK CAMERA | CAM00039 | SITE07 (LOADING DOCK) LOADING DOCK CAMERA [CAM00039] | Online | e059:9ae3:401:9948:3509:44c1:8768:3b19 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE04 | SERVER ROOM | Camera | MAIN ENTRANCE CAMERA | CAM00040 | SITE04_(SERVER_ROOM)_MAIN_ENTRANCE_CAMERA_[CAM00040] | Online | 36cd:4f96:8b71:9042:6bd7:af8e:683d:8728 | Axis | Axis P3245-LV | 11.8.62 | Configured Correctly
Genetec | SITE07 | WAREHOUSE | Camera | MAIN ENTRANCE CAMERA | CAM00041 | SITE07 (WAREHOUSE) MAIN ENTRANCE CAMERA [CAM00041] | Online | fa20:8092:1a02:2f41:d8de:8da9:1692:1d0 | Axis | Axis P1465-LE | 11.8.62 | Configured Correctly
Genetec | SITE08 | THIRD FLOOR | Camera | LOBBY CAMERA | CAM00042 | SITE08 (THIRD FLOOR) LOBBY CAMERA [CAM00042] | Online | aac7:42fa:861f:52ba:e238:daf9:4f3:3947 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE10 | SECURITY OFFICE | Camera | LOBBY CAMERA | CAM00043 | SITE10 (SECURITY OFFICE) LOBBY CAMERA [CAM00043] | Offline | 2686:4c50:1272:bd09:4bd2:dc0d:4140:156a | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE03 | ROOF ACCESS | Camera | SERVER ROOM CAMERA | CAM00044 | SITE03 (ROOF ACCESS) SERVER ROOM CAMERA [CAM00044] | Online | 9dd4:bab3:146d:b732:6b8f:7fc2:34a1:b515 | Axis | Axis P3245-LV | 11.8.62 | Configured Correctly
Genetec | SITE05 | PARKING GARAGE | Camera | SECURITY DESK CAMERA | CAM00045 | SITE05 (PARKING GARAGE) SECURITY DESK CAMERA [CAM00045] | Online | d010:4f21:7935:5333:5aa6:d318:cb0:5bd5 | Axis | Axis P1465-LE | 11.8.61 | Configured Correctly
Genetec | SITE08 | WAREHOUSE | Camera | SECURITY DESK CAMERA | CAM00046 | SITE08 (WAREHOUSE) SECURITY DESK CAMERA [CAM00046] | Online | aa14:d2cc:7f0f:889a:5182:3758:c3dc:13d3 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Correctly
Genetec | SITE05 | PARKING GARAGE | Camera | WAREHOUSE CAMERA | CAM00047 | SITE05 (PARKING GARAGE) WAREHOUSE CAMERA [CAM00047] | Online | f0fe:71e2:662e:ebac:b306:9c41:7487:7223 | Axis | Axis P3245-LV | 11.8.62 | Configured Correctly
Genetec | SITE08 | FIRST FLOOR | Camera | LOBBY CAMERA | CAM00048 | SITE08 FIRST FLOOR LOBBY CAMERA [CAM00048] | Offline | c1d:62e1:cc03:a811:8ea5:238b:8ee9:b3c9 | Axis | Axis P3245-LV | 11.8.62 | Configured Correctly
Genetec | SITE01 | FIRST FLOOR | Camera | LOADING DOCK CAMERA | CAM00049 | SITE01 (FIRST FLOOR) LOADING DOCK CAMERA [CAM00049] | Online | cca2:a98c:e21:3b0e:85bd:5b6d:87eb:1396 | Axis | Axis P1465-LE | 11.8.62 | Configured Correctly
Genetec | SITE01 | SECURITY OFFICE | Camera | SERVER ROOM CAMERA | CAM00050 | SITE01 (SECURITY OFFICE) SERVER ROOM CAMERA [CAM00050] | Online | 3780:de7f:b0fd:a09a:df6f:3b35:c538:6152 | Axis | Axis P1465-LE | 11.8.62 | Configured Correctly
Genetec | SITE03 | ROOF ACCESS | Camera | PARKING GARAGE CAMERA | CAM00051 | SITE03 (ROOF ACCESS) PARKING GARAGE CAMERA [CAM00051] | Offline | 826a:16b9:df42:dd:64e1:ba7b:dcd3:23d3 | Axis | Axis P1465-LE | 11.8.61 | Configured Correctly
Genetec | SITE08 | SERVER ROOM | Camera | SECURITY DESK CAMERA | CAM00052 | site08 (server room) security desk camera [cam00052] | Online | a90f:a0b9:3fce:99c3:9e5a:d118:a701:ce07 | Axis | Axis P3245-LV | 11.8.61 | Configured Incorrectly
Genetec | SITE03 | SERVER ROOM | Camera | PARKING GARAGE CAMERA | CAM00053 | SITE03 (SERVER ROOM) PARKING GARAGE CAMERA [CAM00053] | Online | 10.179.76.142 | Axis | Axis P1347 | 5.51.7 | Configured Correctly
Genetec | SITE01 | SERVER ROOM | Camera | MAIN ENTRANCE CAMERA | CAM00054 | SITE01 (SERVER ROOM) MAIN ENTRANCE CAMERA [CAM00054] | Offline | 412b:6238:d744:c21f:591a:9a16:cfe9:35 | Axis | Axis P1465-LE | 11.8.62 | Configured Correctly
Genetec | SITE02 | SECURITY OFFICE | Camera | LOADING DOCK CAMERA | CAM00055 | SITE02 (SECURITY OFFICE) LOADING DOCK CAMERA [CAM00055] | Online | 10.78.74.54 | Axis | Axis P3245-LV | 11.8.62 | Configured Correctly
Genetec | SITE05 | SECURITY OFFICE | Camera | PARKING GARAGE CAMERA | CAM00056 | ST05 (SECURITY OFFICE) PARKING GARAGE CAMERA [CAM00056] | Online | 10.111.202.149 | Axis | Axis P3245-LV | 11.8.62 | Configured Correctly
Genetec | SITE06 | LOADING DOCK | Camera | MAIN ENTRANCE CAMERA | CAM00057 | SITE06 (LOADING DOCK) MAIN ENTRANCE CAMERA [CAM00057] | Online | a4fd:ee12:e231:e262:6d6a:f245:56e1:2b6a | Axis | Axis P3245-LV | 11.8.62 | Configured Incorrectly
Genetec | SITE09 | WAREHOUSE | Camera | LOBBY CAMERA | CAM00058 | SITE09 (WAREHOUSE) LOBBY CAMERA [CAM00058] | Online | 914c:ab9d:2fd0:7840:9eef:7304:65f4:4b71 | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Incorrectly
Genetec | SITE02 | PARKING GARAGE | Camera | SECURITY DESK CAMERA | CAM00059 | SITE02 (PARKING GARAGE) SECURITY DESK CAMERA [CAM00059] | Online | c81:17a9:7d5c:f345:2549:e92c:d431:638d | Bosch | Bosch DINION 7100i | 8.90.0012 | Configured Incorrectly
Genetec | SITE03 | PARKING GARAGE | Camera | SERVER ROOM CAMERA | CAM00060 | SITE03 (PARKING GARAGE) SERVER ROOM CAMERA [CAM00060] | Online | c498:fd1f:cc9f:7ceb:4b8e:2d6:3692:d9ac | Axis | Axis P1347 | 5.51.7 | Configured Correctly

## Device Standards
Model Name | In-Standard Date | Out-of-Standard Date | Approved Firmware Version | Device Type
iSTAR Pro | 2021-01-01 | 2027-12-31 | 6.8.1 | Control Panel
iSTAR Ultra | 2022-01-01 | 2029-06-30 | 7.2.4 | Control Panel
RM4e | 2021-06-01 | 2028-06-30 | 5.4.2 | Reader
apC 8X | 2018-01-01 | 2025-12-31 | 4.9.0 | Door
Axis P3245-LV | 2022-01-01 | 2028-06-30 | 11.8.62 | Camera
Axis P1465-LE | 2023-01-01 | 2029-12-31 | 11.8.62 | Camera
Hanwha QNO-7080R | 2020-01-01 | 2026-09-30 | 2.22.01 | Camera
Bosch DINION 7100i | 2024-01-01 | 2030-06-30 | 8.90.0012 | Camera
Axis P1347 | 2017-01-01 | 2024-10-31 | 5.51.7 | Camera

## Audit Summary
Question | Status | Issue Count
Are all devices online and configured correctly? | FAIL | 22
Do programming names follow the correct naming convention? | FAIL | 15
Are all products currently in-standard? | FAIL | 24
Are all Genetec cameras using IPv6? | FAIL | 9
Are all Genetec cameras online? | FAIL | 7
Are all Genetec cameras on the correct firmware version? | FAIL | 7